The content of the Tech-Check Lists is based on our specs and MAS

tech-check specs architectural  I Division 02

This is a template, so some items will apply to your project, and others won’t or will be missing.

When using the list, make the changes needed for your project.

TERSPEC®.

| ## ◻ | ## 024116 - STRUCTURE DEMOLITION |
| --- | --- |
|  | - Check with the Owner or CM if there are any items to be either re-installed or kept by the Owner for future use. - DO NOT ever either describe shoring or receive shoring shop drawings or shoring calculations for review. - Hazardous Materials: If it is known that there are hazardous materials in the building to be demolished then preferably we ask that the removal is done under a separate contract. |
| ## ◻ | ## 024119 - SELECTIVE DEMOLITION |
|  | - Make sure that the demolition work is clearly INDICATED on the Drawings. - Coordinate with Owner and document the following (better in a schedule): - Items to be removed. - Items to be removed and savaged. - Items to be removed and re-installed. - Existing items to remain. |

DIVISION 02 - EXISTING CONDITIONS

## END OF TECH-CHECKLIST