The content of the Tech-Check Lists is based on o

tech-check specs architectural  I Division 03

This is a template, so some items will apply to your project, and others won’t or will be missing.

When using the list, make the changes needed for your project.

ur specs and MASTERSPEC®.

DIVISION 03 CONCRETE

| ## ◻ | ## GENERAL FOR ALL SECTIONS |
| --- | --- |
|  | - COORDINATE THE FOLLOWING with the Structural Engineer: - Parameters for structural calculations (loads, standards, etc,) - Architectural concrete finishes. - Concrete slab finishes, whether concrete will be exposed, polished, sealed, or as required for type of flooring scheduled. - Flatness when required by use of space. - Admixtures if required for color, appearances, or function. - Advise structural that we provide a section for non-structural patching. |
| ## ◻ | ## 030130 - Non-Structural PATCHING OF CONCRETE SLABS |
|  | - This section is RMW’s and should be included ALWAYS!. This is patching floors in new and existing buildings in case this is needed. - Basis of Design Product: Ardex CP – Concrete Patch - LEED PROJECTS: Requirements and Submittals are included at the beginning of the section. |
| ## ◻ | ## 033300 - ARCHITECTURAL CONCRETE |
|  | - Check that if.field samples or mockups are required, they are included in the spec. - Check description of exposed concrete finishes to make sure it is what you want. - Make sure locations for mockups are included on the Drawings. - LEED PROJECTS: Requirements and Submittals are included at the beginning of the section. |
| ## ◻ | ## 033940 - CONCRETE SEALER-DENSIFIER |
|  | - This section is RMW’s and should be included ALWAYS!. This is for exposed concrete floors where no other finish is indicated. - Basis of Design Product: SEAL HARD by L & M Construction Chemicals, Inc., 14851 Calhoun Road, Omaha, NE 68152 (800-362-3331) - LEED PROJECTS: Requirements and Submittals are included at the beginning of the section. |
| ## ◻ | ## 034500- PRECAST ARCHITECTURAL CONCRETE |
|  | - Coordinate the specification requirements with the fabricator. - Check that the article Performance Requirements is included with references to the Delegated Design Article which has the parameters for structural calculations. - Check that if field samples or mockups are required, they are included in the spec. - Check description of exposed concrete finishes and make sure it is what you want. - Make sure locations for mockups are included on the Drawings. - Make sure that the delegated design paragraphs are included. - LEED PROJECTS: Requirements and Submittals are included at the beginning of the section. |

## END of Tech-Checking LIST