The content of the Tech-Check Lists is based on our specs a

tech-check specs architectural  I Division 04

This is a template, so some items will apply to your project, and others won’t or will be missing.

When using the list, make the changes needed for your project.

nd MASTERSPEC®.

DIVISION 04 -MASONRY

| ## ◻ | ## 042200 - CONCRETE UNIT MASONRY ASSEMBLIES |
| --- | --- |
|  | - This section is ONLY FOR NON-STRUCTURAL ASSEMBLIES, such as trash-enclosure walls. - Basis of Design Manufacturer: Basalite. - Check that other products, such as pre-mixed mortars and grouts are also from Basalite. - If not in the specs, check that the CMU description is included on the Drawings : Unit size and color/texture. |

## END OF TECH-CHECKLIST