The content of the Tech-Check Lists is based on our specs and M

tech-check specs architectural  I Division 11

This is a template, so some items will apply to your project, and others won’t or will be missing.

When using the list, make the changes needed for your project.

ASTERSPEC®.

DIVISION 11 - EQUIPMENT

| ## ◻ | ## 111313 - LOADING DOCK BUMPERS |  |
| --- | --- | --- |
|  | - This section specifies loading dock bumpers. Surface mounted, laminated tread. - Basis of Design Manufacturer: Rite-Hite. https://www.ritehite.com/en/am/products/loading-dock-management/loading-dock-bumpers - Check that specified bumpers are the same type as indicated on the Drawings. - Check that details showing installation and location match the section. |  |
| ## ◻ | ## 111316 - LOADING DOCK SEALS AND SHELTERS |  |
|  | - This section specifies transparent-strip door curtains, inflatable loading dock seals, and frame-type shelters. - Basis of Design Manufacturer: Blue Giant, https://www.bluegiant.com/Products/Seals-and-Shelters.aspx. - Section includes requirement of coordination with electrical work if units are motor-operated. - Check that section included sizes if not indicated on the Drawings. - Section induces types of trip door curtains including installation method. - Manufacturer’s warranty is included. - Maintenance service and demonstration are included if Owner wants them. - LEED PROJECTS: Requirements and Submittals included at the beginning of the section. |  |
| ## ◻ | ## 111319 - STATIONARY LOADING DOCK EQUIPMENT |  |
|  | - This section specifies pit style, hydraulic dock levelers and truck restraints. - Basis of Design Manufacturer: Blue Giant. https://www.bluegiant.com/Products/Dock-Levelers/Pit-Style.aspx - Section includes coordination with existing construction and electrical work, if motorized unit is specified. - Manufacturer’s warranty is included. - Field measurements requirement is included. - Accessories are included. - Truck Restraints are included. - Maintenance service and demonstration are included if Owner wants them. - LEED PROJECTS: Requirements and Submittals included at the beginning of the section. |  |
| ## ◻ | ## 111200 - PARKING CONTROL EQUIPMENT |  |
|  | - This section specifies Automatic barrier gates. - Basis of Design Manufacturer: None on file - Coordination with electrical work is included in the section. - Type (straight gate arm type) is in the specs. - Required ADA protections (audible signal, etc) are included in the specs. |  |

END OF TECH-CHECKING LIST