tech-check specs interiors I Division 10

This is a template, so some items will apply to your project, and others won’t or will be missing.

When using the list, make the changes needed for your project.

The content of the Tech-Check Lists is based on our specs and MASTERSPEC®.

DIVISION 10 - SPECIALTIES

| ## ◻ | ## 101100 - VISUAL DISPLAY UNITS |  |
| --- | --- | --- |
|  | - This section specifies marker boards boards wall mounted. - Basis of Design Manufacturer: Claridge (glass marker boards and porcelain enamel sheet) . https://claridgeproducts.com/build/products/home/ - The dimensions of the board are indicated on the drawings if not in the specs. - Accessories such as chalk-trays, backboard panels, trim, etc. are indicated on the drawings or the specs. - Sliding components, if any, are indicated on the Drawings and included in the spec. - Installation method(s) are indicated on the section. - LEED PROJECTS: Requirements and Submittals included at the beginning of the section. |  |
| ## ◻ | ## 102113.14 - STAINLESS-STEEL TOILET COMPARTMENTS |  |
|  | - This section specified stainless steel toilet compartments. - Basis of Design Manufacturer: Bradley https://www.bradleycorp.com/toiletpartitions/stainless-steel-partitions - ALL TOILET COMPARTMENTS IN RWW ARE SPECIFIED “OVERHEAD BRACED/FLOOR MOUNTED because that is the type that is easiest to install without wabbles. - “Verify field dimensions”paragraph is included in the section. - The product specificed has gap-free option when availlable. - LEED PROJECTS: Requirements and Submittals included at the beginning of the section. |  |
| ## ◻ | ## 102113.17 - PHENOLIC-CORE TOILET COMPARTMENTS |  |
|  | - This section specifies phenolic-core toilet compartments. - Basis of Design Manufacturers: Bobrick or Bradley. https://www.bradleycorp.com/toiletpartitions/solid-phenolic-core-partitions - ALL TOILET COMPARTMENTS IN RWW ARE SPECIFIED “OVERHEAD BRACED/FLOOR MOUNTED because that is the type that is easiest to install without wabbles. - “Verify field dimensions”paragraph is included in the section. - The product specificed has gap-free option when availlable. - LEED PROJECTS: Requirements and Submittals included at the beginning of the section. |  |
| ## ◻ | ## 104413 - FIRE PROTECTION CABINETS |  |
|  | - This section specifies fire protection cabinets for portable fire extinguishers, surface mounted, semi-recessed and fully recessed. - Basis of Design Manufacturer: Larse’s or JL. http://www.larsensmfg.com/home; - Section includes white enameled finish (to be field painted to match the wall) or stainless steel - as applicable to project. - Partition thickness is coordinated with type of cabinet and details. If cabinets are installed in rated partitions, detail is included. - Installation for type of cabinets specified is included in the section- window (if any), letering, etc. - FIRE EXTINGUISHERS are typically 5 pounds. |  |
| ## ◻ | ## 105113 - METAL LOCKERS |  |
|  | - This section specifies WELDED metal lockers. These can be standard models or special tpes, like quiet lockers or good looking ones. - Basis of Design Manufacturer (Standard lockers and Quiet lockers): Republic https://republicstorage.com/store/corridor_lockers?lockers=1 - Lead time in lockers is very important. Verify they are available before specifying. - Field dimensions verification paragraph is included in the section. - Arrangement of lockers is in the drawings; Size and type is in the specs. - Requirement for base or for legs is included. - Type of lock, numbers, vents, are included. - LEED PROJECTS: Requirements and Submittals included at the beginning of the section. |  |
| ## ◻ | ## 102123 - CUBICLE CURTAINS AND TRACK |  |
|  | - This section specifies Cubicle-curtain tracks and carriers AND CURTAINS. - Basis of Design Manufacturer: Construction Specialites. - Type of track is included (material accessories, etc) is included. - IF curtains are not provided by the Owner, then they should be included in the section and on the Drawings under finishes. - Fabric type and/or mesh, construcion, color and pattern, and length of curtains, are included in the section. - Installation (surface mounted or suspended is included in the section. - LEED PROJECTS: Requirements and Submittals included at the beginning of the section. |  |
| ## ◻ | ## 102233 - ACCORDION FOLDING PARTITIONS |  |
|  | - This section specifies manually or electrical operated accordion folding partitions, rated and non-rated. - Basis of Design Manufacturer Glass: CRL US Aluminum. http://www.crl-arch.com/#ab - Basis of Design Manufacturer Rated: Won-Door. http://wondoor.com/ - Basis of Design Manufacturer: Hufcor http://www.hufcor.com/products/accordion-doors/#downloads - Acoustical performance is included. - Seismic requirements for delegated design work are included. - Fire resistance requirements are included. - Surface burning requirements are included. - Suspension system is included. - Acoustical field testing is included. - Check finishes in the spec section. - LEED PROJECTS: Requirements and Submittals included at the beginning of the section. |  |
| ## ◻ | ## 102800 - TOILET, shower, and custodial ACCESSORIES |  |
|  | - This section specifies accessories for public-use bathrooms and showers; under lavatory guards; and custodial accessories. - Basis of Design Manufacturer: Bobrick. - Basis of Design Product under lavatory guards: IPS Truebro® Lav Guard® 2 Undersink Piping Covers - Section includes the following: - General requirements for toilet accessories that are shown on the Drawings. - General requirements for grab bars that are shown on the Drawings. - Miscellaneous Accessories: Coat hooks, folding shelfs, diaper changing unit. - Accessories for showers: Curtain rod, curtains shower seat, shelves, towel hooks, towel bar, bench for outside the shower where people undress and dress, hair dryer. - Accessories for custodial rooms: Floor sink and shelf with mop/broom holder. - Check that details showing installation and location match the section. - LEED PROJECTS: Requirements and Submittals included at the beginning of the section. |  |

END OF TECH-CHECKING LIST