tech-check specs interiors I Division 12

This is a template, so some items will apply to your project, and others won’t or will be missing.

When using the list, make the changes needed for your project.

The content of the Tech-Check Lists is based on our specs and MASTERSPEC®

DIVISION 12 - FURNISHINGS

| ## ◻ | ## 122413 - ROLLER WINDOW SHADES |  |
| --- | --- | --- |
|  | - This section specifies roller window shades, manually or motor operated, one or two rollers. - Basis of Design Manufacturer: MecoShade - If motor operated the requirement of coordination with electrical works included - Details match the spec. - Field measurements requirement is included. - Shades are included and match the Drawings. - LEED PROJECTS: Requirements and Submittals included at the beginning of the section. |  |
| ## ◻ | ## 123623.13 - PLASTIC-LAMINATE-CLAD COUNTERTOPS S |  |
|  | - This section specifies plastic -laminate-clad countertops with MDF cores. - Basis of Design Manufacturer for Core: ROSEBURG (formerly Sierra Pine) - Field measurements requirement is included. - Core: MDF: Moisture resistant, flame retardant and no-added formaldehyde (NAF) - Description of backsplash and edge in specs matches details. - LEED PROJECTS: Requirements and Submittals included at the beginning of the section. |  |
| ## ◻ | ## SECTION 123661.16 - SOLID SURFACING COUNTERTOPS |  |
|  | - This section specifies solid surfacing countertops and backsplashes. - Solid surface material characteristics are included. - Field measurements requirement is included. - Description of backsplash and edge in specs matches details. - Installation instructions match details. - LEED PROJECTS: Requirements and Submittals included at the beginning of the section. |  |
| ## ◻ | ## 123661.19 - QUARTZ AGGLOMERATE COUNTERTOPS |  |
|  | - This section specifies quartz countertops and backsplashes. - Quartz material characteristics are included. - Field measurements requirement is included. - Description of backsplash and edge in specs matches details. - Installation instructions match details. - LEED PROJECTS: Requirements and Submittals included at the beginning of the section. |  |
|  | ## 124813 - ENTRANCE FLOOR MATS AND FRAMES |  |
|  | - This section specifies resilient entrance mats with surface mounted or recessed frames. - Basis of Design Manufacturer: Construction Specialties. - Field measurements requirement is included. - Coordination with concrete work in new buildings with recessed frames is included. - Description of frames and match in specs matches details. - Installation instructions match details. - LEED PROJECTS: Requirements and Submittals included at the beginning of the section. |  |
|  | ## 124816 - ENTRANCE FLOOR GRILLES |  |
|  | - This section specifies resilient entrance mats with surface mounted or recessed frames. - Basis of Design Manufacturer: Construction Specialties. - Field measurements requirement is included. - Coordination with concrete work in new buildings with recessed frames is included. - Description of frames and match in specs matches details. - Installation instructions match details. - LEED PROJECTS: Requirements and Submittals included at the beginning of the section. |  |

END OF TECH-CHECKING LIST