tech-check specs interiors  I Division 13

This is a template, so some items will apply to your project, and others won’t or will be missing.

When using the list, make the changes needed for your project.

The content of the Tech-Check Lists is based on our specs and MASTERSPEC®.

DIVISION 13 - SPECIAL CONSTRUCTION

| ## ◻ | ## 134900 - RADIATION PROTECTION |
| --- | --- |
|  | - This section in RMW projects specifies only lead-lined gypsum, lead glass, and lead doors. Anything more than this should be handled by a consultant or Owner-Provided package. - Pre-installation meeting requirements are included. - Field measurements requirement is included. - Products are installed by fabricator - no exceptions. - Description of products matches products selected. - Review drawing notes and make sure they are correct. - Installation instructions match details. - LEED PROJECTS: Requirements and Submittals included at the beginning of the section. |

END OF TECH-CHECKING LIST